Hellenic Accreditation System

# Annex G1/5 to the Certificate No. 666-2 SCOPE of ACCREDITATION of the Hematology Department of the Laboratories Division of KONSTANTOPOULEIO General Hospital of N. Ionia

| Tested materials/ products | Types of test/ Properties to be measured | Applied Standards/ Techniques to be used |
| --- | --- | --- |
| Hematological testing |  |  |
| 1. Whole Blood (EDTA) Whole Blood (EDTA) (continued) | Determination of 1 parameter | Automated Hematology analyzer ADVIA2120 |
|  | 1. Reticulocyte Count ( %) | Staining combiened with cytometry |
|  | Determination of 9 parameters | Automated Hematology analyzer ADVIA2120 & ADVIA 120 |
|  | 1.White blood cell (WBC) | Volume analysis combiened with flow cytometry |
|  | 2.Red blood cell (RBC) | Volume analysis combiened with flow cytometry |
|  | 3.Hemoglobin(HGB) | Photometric |
|  | 4.Hematocrit (HCT%) | Calculated |
|  | 5.Mean corpuscular volume (MCV) | Volume analysis with flow cytometry |
|  | 6. Mean corpuscular Hemoglobin (MCH) | Calculated |
|  | 7. Mean corpuscular Hemoglobin concentration(MCHC) | Calculated |
|  | 8. RBC Distribution Width (RDW) | Calculated |
|  | 9.Platelets (PLTs) | Volume analysis combiened with flow cytometry |
|  | White Blood Cell Automated Differential Count | Staining combiened with flow cytometry |
|  | 1.Neutrophil (number and %) |  |
|  | 2.Lymphocyte (number and %) |  |
|  | 3.Monocyte (number and %) |  |
|  | 4.Eosinophil (number and %) |  |
|  | 5.Basophil (number and %) |  |
|  | 6.Atypical- Large unstained cells (number and %) |  |
| 2. Blood films | 1. White Blood Cell Differential Count | Microscopy |
|  | 2. RBC Morphology |  |
|  | 3. PLT Morphology |  |
| 3. Blood plasma (sodium citrate) | Determination of 6 parameters | Automated Coagulation analyzer BCS-XP & BCS (Siemens) |
|  | 1. Prothrombin time (ΡΤ) | Clotting |
|  | 2. INR (International Normalized Ratio) | Calculated |
|  | 3.Activated Partial Thromboplastin time (ΑΡΤΤ) | Clotting |
|  | 4. Fibrinogen( FIB) | Modified Clauss technique |
|  | 5. DDimers (DD) | Immunoturbidimetry |
|  | 6. Antithrombin | Chromogenic |
|  | Determination of 2 parameters | Automated Coagulation analyzer BCS-XP (Siemens) |
|  | 1. Protein C | Chromogenic |
|  | 2. Activated Protein C Resistance (APC-R) | Clotting |
| Immunological testing |  |  |
| 1. Blood serum Blood serum (continued) | Determination of 3 parameters | Automated analyzer ACCESS (Beckman Coulter) |
|  | 1.Ferritin | Immunoassay |
|  | 2. Vitamin Β12 | Immunoassay |
|  | 3. Folate acid | Immunoassay |

Site of assessment: Laboratory permanent premises: 3-5 Aghias Olga str., 14233 N. Ionia, Greece.

Approved signatories: P. Paraskevopoulou, Ε. Deilakis, Μ. Scoura, M. Korre.

This Scope of Accreditation replaces the previous one dated 13.03.2014.

The Accreditation Certificate No.666-2, to ELOT EN ISO 15189:2007, is valid until 25.03.2018.

Athens, September 05, 2014

Ioannis Sitaras

Director of the Laboratories Accreditation Division